|  |
| --- |
| Reflex Test List- St Joseph Hospital Laboratory |
| Department | Ordered Test | Condition | Reflex Test Performed and Billed |
| Blood Bank | Antibody Screen | Antibody positive | Antibody identification and autocontrolIf autocontrol positive, reflexes to a DATIf antibody ID’d, antigen testing may be performed |
| Direct antiglobulin test (DAT) | Polyspecific DAT positive | IgG DATComplement sent to Quest |
| ABORH | If D is ≤1+ or history is discrepant | Weak D |
| Serology | RPR Screen | Reactive | Sent to State Lab for Confirmation |
| RA | Positive | RF, Quantitative performed by Mayo |
| Hematology | Urinalysis w/ Reflex,Urinalysis | Blood | >Trace | Urine microscopic |
| Nitrite | Positive |
| Leukocyte Esterase | ≥Trace |
| Protein | >Trace |
| Urinalysis w/ Reflex | Nitrite | Positive | Urine culture |
| Leukocyte Esterase | >Trace |
| WBC/hpf | >5/hpf |
| CBC with Differential | Instrument flag[[1]](#footnote-1) | Manual WBC Differential and/or peripheral smear review by technologist |
| CBC with Differential | Abnormal results[[2]](#footnote-2) | Peripheral smear review by pathologist |
| Smear Review by Pathologist | Normal CBC[[3]](#footnote-3) | Smear review not performed and credited |
| Body Fluid Differential | All fluids except synovial and CSF | Smear review by pathologist |
| Anemia Protocol | Hemoglobin 10.0-12.0 g/dL | Order Retic, Iron Panel, and Ferritin |
| Chemistry | Calculated LDL Cholesterol | Triglyceride >400mg/dL | Direct LDL Cholesterol |
| Potassium w/ reflex, CMP w/ reflex, BMP w/ reflex | Potassium ≤ 3.5 mmol/L | Magnesium |
| TSH Cascade | TSH abnormal | Free T4If Free T4 normal and TSH <0.1, order Total T3 |
| Lactic Acid w/ reflex | Lactic Acid ≥ 2.0 | Order lactic acid 2 hours after previous collection for a total of 3 in series |
| Microbiology | Culture | Pathogen isolated | Identification and sensitivity (CPT codes vary depending on testing and sensitivity performed) |
| Culture (sterile site) | Fungal isolate | Fungal culture to Mayo |
| Streptococcus isolate | Send to St. Mary’s Lab for identification and sensitivity |
| C Diff PCR | Positive | C Diff Toxin and Antigen |

1. Failure of instrument to produce reliable WBC differential results and generates flag. Laboratory policy dictates which flags reflex to manual WBC differential. [↑](#footnote-ref-1)
2. Laboratory follows Dahl-Chase Pathology guidelines for pathology smear referral. Guidelines available upon request [↑](#footnote-ref-2)
3. Laboratory follows Dahl-Chase Pathology guidelines for canceling provider requested pathology smear reviews. Guidelines available upon request [↑](#footnote-ref-3)